## Plate 5 - Sheet1
Software Version | 2.08.13
Experiment File Path: | D:\Aaron Pereira\ChlamEE salt\Pre_experiment measurement for dilutions 08.10.2017.xpt
Protocol File Path: | D:\Narwani group protocols\Chlorophyll A.prt
Plate Number | Plate 5
Date | 2017-10-07
Time | 14:28
Reader Type: | Cytation5
Reader Serial Number: | 15081111
Reading Type | Reader
Procedure Details
Plate Type | Costar 48 well (Use plate lid)
Well Selection | Runtime
Eject plate on completion
Shake | Linear: 0:15 (MM:SS)
Frequency: 567 cpm (3 mm)
Read | Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Fluorescence Area Scan
Full Plate
Matrix Size: 3 x 3
Filter Set 1
Excitation: 435/20, Emission: 685/20
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read 1:600
Actual Temperature: | 25.7
| Well | A1 | B1 | C1 | D1 | E1 | F1 | A2 | B2 | C2 | D2 | E2 | F2 | A3 | B3 | C3 | D3 | E3 | F3 | A4 | B4 | C4 | D4 | E4 | F4 | A5 | B5 | C5 | D5 | E5 | F5 | A6 | B6 | C6 | D6 | E6 | F6 | A7 | B7 | C7 | D7 | E7 | F7 | A8 | B8 | C8 | D8 | E8 | F8
| Read 1:600 | 0.1392 | 0.2244 | 0.1289 | 0.1349 | 0.1547 | 0.0834 | 0.199 | 0.1858 | 0.1307 | 0.1618 | 0.1621 | 0.0837 | 0.1622 | 0.1715 | 0.1715 | 0.195 | 0.1432 | 0.0852 | 0.2288 | 0.1624 | 0.1278 | 0.131 | 0.1749 | 0.0853 | 0.1426 | 0.2116 | 0.1595 | 0.1703 | 0.2045 | 0.0855 | 0.2196 | 0.2131 | 0.1445 | 0.1256 | 0.0846 | 0.0836 | 0.3686 | 0.2033 | 0.14 | 0.1077 | 0.086 | 0.0854 | 0.2113 | 0.1627 | 0.1535 | 0.144 | 0.0843 | 0.0861
Read 2:435,685
| X Read # | Y Read # | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8
| 1 | 1 | 2959 | 5065 | 3186 | 5055 | 2353 | 5994 | 10685 | 5558 | 5631 | 4307 | 3693 | 3300 | 5355 | 5279 | 5349 | 3542 | 1535 | 2018 | 4109 | 2239 | 3288 | 2366 | 2620 | 3055 | 2350 | 3311 | 3797 | 2346 | 4157 | 1912 | 1189 | 2648 | 2971 | 3072 | 3118 | 4743 | 5104 | 9 | 3 | 1 | 6 | 0 | 2 | 2 | 7 | 3 | 5 | 0
| 1 | 2 | 2316 | 4931 | 3147 | 4966 | 2259 | 6183 | 10286 | 5272 | 5493 | 4362 | 3761 | 3231 | 5688 | 5405 | 5180 | 3568 | 2013 | 1963 | 4092 | 2157 | 3250 | 2207 | 2366 | 2913 | 2394 | 3253 | 3861 | 2298 | 3869 | 1834 | 1031 | 3066 | 2706 | 2787 | 2349 | 4236 | 4308 | 8 | 3 | 4 | 3 | 8 | 8 | 9 | 3 | 13 | 5 | 4
| 1 | 3 | 2518 | 5005 | 2944 | 5064 | 2125 | 6086 | 10393 | 5429 | 5622 | 4404 | 3961 | 3436 | 5349 | 5411 | 5418 | 3625 | 2341 | 2109 | 4295 | 2468 | 3700 | 2620 | 2627 | 3127 | 2422 | 3571 | 4087 | 2384 | 4172 | 1983 | 1181 | 2829 | 2758 | 2875 | 2126 | 3392 | 3503 | 4 | 7 | 7 | 9 | 5 | 5 | 7 | 6 | 2 | 7 | 1
| 2 | 1 | 2600 | 5102 | 3280 | 5187 | 2561 | 5923 | 10695 | 5478 | 5696 | 4355 | 3839 | 3153 | 5150 | 5315 | 5295 | 3449 | 1616 | 1998 | 4123 | 2212 | 3350 | 2292 | 2393 | 3039 | 2481 | 3226 | 3854 | 2329 | 3918 | 1969 | 1149 | 2837 | 3109 | 3348 | 3193 | 4721 | 6098 | 10 | 5 | 3 | 8 | 3 | 3 | 9 | 7 | 4 | 10 | 0
| 2 | 2 | 2434 | 5013 | 3143 | 5301 | 2484 | 5973 | 10462 | 5566 | 5610 | 4390 | 3836 | 3207 | 5209 | 5483 | 5232 | 3388 | 1942 | 1998 | 4219 | 2400 | 3464 | 2600 | 2587 | 3016 | 2374 | 3397 | 3933 | 2351 | 4033 | 1909 | 1135 | 2830 | 2853 | 2892 | 2408 | 4596 | 5563 | 9 | 5 | 0 | 5 | 3 | 5 | 0 | 3 | 4 | 2 | 3
| 2 | 3 | 2303 | 5108 | 2974 | 5048 | 2419 | 5995 | 10565 | 5619 | 5526 | 4403 | 4019 | 3226 | 4683 | 5574 | 5335 | 3365 | 2288 | 2059 | 4380 | 2419 | 3575 | 2898 | 2621 | 3142 | 2553 | 3341 | 4028 | 2318 | 4116 | 2028 | 1179 | 2398 | 2736 | 2769 | 1582 | 2511 | 3254 | 7 | 8 | 8 | 11 | 0 | 3 | 5 | 4 | 6 | 9 | 3
| 3 | 1 | 2451 | 5050 | 3502 | 5103 | 2470 | 6142 | 10634 | 5763 | 5357 | 4100 | 3707 | 3459 | 5289 | 5223 | 5112 | 3391 | 1515 | 1965 | 3968 | 2172 | 3136 | 2308 | 2357 | 3021 | 2296 | 3259 | 3671 | 2222 | 3951 | 1967 | 1123 | 2502 | 3237 | 3221 | 2888 | 4509 | 5483 | 5 | 11 | 6 | 9 | 3 | 5 | 8 | 3 | 6 | 9 | 8
| 3 | 2 | 2355 | 5003 | 3271 | 5235 | 2415 | 6071 | 10748 | 5717 | 5297 | 4275 | 3868 | 3411 | 5298 | 5424 | 5320 | 3465 | 1697 | 1999 | 4164 | 2261 | 3530 | 2554 | 2630 | 3160 | 2497 | 3378 | 3795 | 2238 | 3962 | 2018 | 1172 | 2193 | 3135 | 2957 | 2365 | 4048 | 5005 | 6 | 3 | 5 | 5 | 7 | 3 | 12 | 4 | 9 | 8 | 2
| 3 | 3 | 2591 | 4823 | 3211 | 5002 | 2285 | 5845 | 10214 | 5204 | 5454 | 4248 | 3877 | 3354 | 5031 | 5241 | 5229 | 3379 | 1951 | 2047 | 4139 | 2426 | 3496 | 2924 | 2566 | 2977 | 2469 | 3522 | 4015 | 2378 | 4136 | 1962 | 1157 | 2088 | 2761 | 2745 | 1689 | 2503 | 3733 | 4 | 6 | 8 | 9 | 6 | 7 | 11 | 12 | 8 | 10 | 7
Mean RFU [Read 2:435,685]
| Well | A1 | B1 | C1 | D1 | E1 | F1 | A2 | B2 | C2 | D2 | E2 | F2 | A3 | B3 | C3 | D3 | E3 | F3 | A4 | B4 | C4 | D4 | E4 | F4 | A5 | B5 | C5 | D5 | E5 | F5 | A6 | B6 | C6 | D6 | E6 | F6 | A7 | B7 | C7 | D7 | E7 | F7 | A8 | B8 | C8 | D8 | E8 | F8
| Mean RFU [Read 2:435,685] | 2503 | 5521 | 1878 | 2426 | 2918 | 7 | 5011 | 4316 | 2017 | 3362 | 2963 | 4 | 3184 | 3840 | 4165 | 3893 | 2413 | 5 | 5107 | 3309 | 2306 | 2318 | 3918 | 7 | 2375 | 5228 | 3421 | 4035 | 4672 | 5 | 6024 | 5373 | 2530 | 1954 | 7 | 6 | 10520 | 5274 | 2530 | 1146 | 6 | 7 | 5512 | 3464 | 3050 | 2599 | 5 | 3