## Plate 4 - Sheet1
Software Version | 2.08.13
Experiment File Path: | D:\Aaron Pereira\ChlamEE salt\Pre_experiment measurement for dilutions 08.10.2017.xpt
Protocol File Path: | D:\Narwani group protocols\Chlorophyll A.prt
Plate Number | Plate 4
Date | 2017-10-07
Time | 13:56
Reader Type: | Cytation5
Reader Serial Number: | 15081111
Reading Type | Reader
Procedure Details
Plate Type | Costar 48 well (Use plate lid)
Well Selection | Runtime
Eject plate on completion
Shake | Linear: 0:15 (MM:SS)
Frequency: 567 cpm (3 mm)
Read | Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Fluorescence Area Scan
Full Plate
Matrix Size: 3 x 3
Filter Set 1
Excitation: 435/20, Emission: 685/20
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read 1:600
Actual Temperature: | 25.1
| Well | A1 | B1 | C1 | D1 | E1 | F1 | A2 | B2 | C2 | D2 | E2 | F2 | A3 | B3 | C3 | D3 | E3 | F3 | A4 | B4 | C4 | D4 | E4 | F4 | A5 | B5 | C5 | D5 | E5 | F5 | A6 | B6 | C6 | D6 | E6 | F6 | A7 | B7 | C7 | D7 | E7 | F7 | A8 | B8 | C8 | D8 | E8 | F8
| Read 1:600 | 0.1295 | 0.2236 | 0.1251 | 0.133 | 0.1468 | 0.0835 | 0.1818 | 0.1908 | 0.1408 | 0.1609 | 0.1598 | 0.0836 | 0.1603 | 0.1905 | 0.1662 | 0.1875 | 0.1194 | 0.085 | 0.2342 | 0.1575 | 0.1214 | 0.1422 | 0.1422 | 0.0851 | 0.1501 | 0.2358 | 0.1808 | 0.1411 | 0.2099 | 0.0857 | 0.2482 | 0.2148 | 0.1527 | 0.1365 | 0.0849 | 0.0837 | 0.3885 | 0.2201 | 0.1501 | 0.1197 | 0.0861 | 0.0857 | 0.2143 | 0.1691 | 0.1745 | 0.1306 | 0.0844 | 0.0848
Read 2:435,685
| X Read # | Y Read # | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8
| 1 | 1 | 2767 | 5334 | 3248 | 5934 | 3257 | 6635 | 11863 | 6756 | 5910 | 4779 | 5177 | 3485 | 5735 | 5706 | 5778 | 3975 | 1765 | 2718 | 4367 | 1757 | 4327 | 3001 | 3433 | 4476 | 2389 | 3695 | 4104 | 3026 | 2689 | 2491 | 1711 | 2245 | 3320 | 3596 | 2172 | 3534 | 5835 | 6 | 5 | 0 | 4 | 8 | 6 | 0 | 14 | 8 | 5 | 3
| 1 | 2 | 2594 | 5133 | 3284 | 5738 | 3141 | 6617 | 11602 | 6387 | 5878 | 4998 | 5168 | 3522 | 5494 | 5800 | 5826 | 4000 | 2464 | 2825 | 4356 | 1611 | 4077 | 2884 | 3288 | 4150 | 2463 | 3709 | 4049 | 2874 | 2795 | 2425 | 1561 | 2062 | 3272 | 3397 | 1952 | 3371 | 5304 | 4 | 7 | 1 | 6 | 7 | 5 | 4 | 4 | 3 | 3 | 6
| 1 | 3 | 2532 | 5263 | 3295 | 5862 | 3337 | 6395 | 11633 | 6512 | 6002 | 5219 | 5567 | 3772 | 5841 | 5912 | 6167 | 4101 | 2617 | 3015 | 4752 | 1940 | 4726 | 3329 | 3607 | 4339 | 2588 | 3886 | 4487 | 3208 | 3075 | 2523 | 1831 | 2166 | 3139 | 3658 | 2176 | 3359 | 5343 | 0 | 0 | 5 | 0 | 0 | 11 | 8 | 3 | 7 | 0 | 8
| 2 | 1 | 2597 | 5304 | 3748 | 5776 | 3475 | 6561 | 11787 | 6676 | 5838 | 4905 | 5123 | 3602 | 5694 | 5733 | 6064 | 3852 | 1986 | 2837 | 4462 | 1801 | 4178 | 3064 | 3376 | 4383 | 2484 | 3790 | 4111 | 3094 | 2788 | 2441 | 1721 | 2200 | 3181 | 3552 | 2139 | 3629 | 5994 | 4 | 1 | 5 | 7 | 8 | 6 | 5 | 6 | 10 | 8 | 4
| 2 | 2 | 2422 | 5204 | 3490 | 6044 | 3544 | 7259 | 11477 | 6605 | 6018 | 5022 | 5662 | 3651 | 6347 | 6069 | 6256 | 4075 | 1851 | 2860 | 4614 | 1800 | 4517 | 3269 | 3532 | 4370 | 2468 | 3554 | 4344 | 2980 | 2807 | 2389 | 1708 | 2249 | 3107 | 3576 | 1781 | 3084 | 6032 | 7 | 2 | 2 | 8 | 1 | 3 | 7 | 1 | 7 | 7 | 7
| 2 | 3 | 2487 | 5316 | 3591 | 5735 | 3315 | 6558 | 11602 | 6603 | 6027 | 5151 | 5609 | 3670 | 6177 | 5885 | 6293 | 4250 | 2525 | 3009 | 4722 | 1897 | 4784 | 3584 | 3736 | 4578 | 2618 | 3836 | 4361 | 3203 | 2967 | 2520 | 1840 | 2238 | 3303 | 3654 | 1904 | 3006 | 5471 | 3 | 3 | 0 | 1 | 4 | 2 | 6 | 5 | 4 | 5 | 6
| 3 | 1 | 2329 | 5470 | 3820 | 6457 | 3782 | 6553 | 11591 | 6680 | 5504 | 4644 | 5073 | 3516 | 5979 | 5723 | 5829 | 3987 | 1846 | 2773 | 4325 | 1757 | 4310 | 3134 | 3360 | 4506 | 2263 | 3608 | 4034 | 2919 | 2779 | 2345 | 1668 | 2248 | 3131 | 3450 | 2170 | 3529 | 6207 | 6 | 5 | 10 | 14 | 10 | 5 | 6 | 2 | 6 | 10 | 7
| 3 | 2 | 2308 | 5484 | 3730 | 6511 | 3573 | 6640 | 11757 | 6713 | 5661 | 4932 | 5446 | 3557 | 5935 | 5779 | 6191 | 4142 | 1867 | 2844 | 4568 | 1906 | 4499 | 3393 | 3491 | 4556 | 2446 | 3603 | 4094 | 3115 | 2850 | 2416 | 1809 | 2247 | 3141 | 3535 | 2038 | 3147 | 6069 | 8 | 0 | 5 | 4 | 2 | 6 | 5 | 7 | 5 | 5 | 9
| 3 | 3 | 2490 | 5253 | 3615 | 5804 | 3677 | 6441 | 11422 | 6226 | 5930 | 4859 | 5391 | 3676 | 5823 | 5888 | 5944 | 3745 | 2065 | 2838 | 4460 | 2001 | 4618 | 3605 | 3533 | 4513 | 2548 | 3778 | 4383 | 3103 | 3185 | 2482 | 1850 | 2209 | 3272 | 3380 | 1946 | 3037 | 5384 | 0 | 6 | 9 | 4 | 10 | 2 | 6 | 11 | 0 | 7 | 11
Mean RFU [Read 2:435,685]
| Well | A1 | B1 | C1 | D1 | E1 | F1 | A2 | B2 | C2 | D2 | E2 | F2 | A3 | B3 | C3 | D3 | E3 | F3 | A4 | B4 | C4 | D4 | E4 | F4 | A5 | B5 | C5 | D5 | E5 | F5 | A6 | B6 | C6 | D6 | E6 | F6 | A7 | B7 | C7 | D7 | E7 | F7 | A8 | B8 | C8 | D8 | E8 | F8
| Mean RFU [Read 2:435,685] | 2503 | 5863 | 2110 | 2474 | 3207 | 5 | 5307 | 4945 | 2858 | 3718 | 3533 | 6 | 3536 | 5357 | 4514 | 4219 | 2031 | 5 | 5985 | 3606 | 1830 | 3058 | 3300 | 5 | 3456 | 5892 | 4448 | 2882 | 5738 | 6 | 6629 | 5833 | 3251 | 2448 | 4 | 6 | 11637 | 6039 | 3484 | 1744 | 3 | 6 | 6573 | 4014 | 4430 | 2207 | 4 | 7